# Chemical Storage Guidelines

## Overview

All chemicals stored on site must be listed in the chemical inventory system with a current safety data sheet on file.

## Storage Requirements

Flammable liquids must be kept in an approved flammables cabinet away from ignition sources. Oxidizers must be stored separately from flammable and combustible materials.

## Labeling

Every container must be labeled with the chemical name, hazard pictograms, and the date it was opened. Unlabeled containers are treated as unknown hazardous waste.

## Spill Kits

Spill kits appropriate to the stored chemicals must be located within 10 meters of the storage area and checked monthly for completeness.